## Slide 1
Computer Engineering Practice and Design 1
THE EFFECTIVENESS OF ULTRAVIOLET LIGHTS IN DISINFECTING
USING AN AUTOMATIC DISINFECTION BOX
IMPLEMENTED WITH ARDUINO
Bagas, John Christopher B.
Guerrero, Charles Adriane S.
Saralde, Marcus M.
Pabanil, Michael John P.
Engr. Pedrito Tenerife Jr.

## Slide 2
Introduction
POLYTECHNIC UNIVERSITY OF THE PHILIPPINES
4609
Problem: Pandemic, demand in disinfecting materials.
Propose solution: The effectiveness of ultraviolet lights in disinfecting using an automatic disinfection box Implemented with Arduino

## Slide 3
Statement of the Problem
POLYTECHNIC UNIVERSITY OF THE PHILIPPINES
4609
1. What is the significant difference between uv-based disinfectant and alcohol-based disinfectant in terms of their effectiveness?
2. Is there a significant effect among the different factors listed below in terms of its effectiveness?
Intensity of ultraviolet to be used
Duration time to ultraviolet light exposure
3. How efficient the automatic disinfection box in terms of:
Production cost
Conveniency

## Slide 4
Research Paradigm
POLYTECHNIC UNIVERSITY OF THE PHILIPPINES
4609

## Slide 5
Significance of the Study
POLYTECHNIC UNIVERSITY OF THE PHILIPPINES
4609
1. To health and safety officers - Automated disinfection promotes contactless, safe and good social distancing practice.
2. To the user – Contactless disinfection.
3. To the environment – Less plastic waste residue. reusable.
4. To the future researchers - Serves as good foundation of contactless. automatic and innovative method of disinfection.

## Slide 6
Scope and Limitations
130L, 100W, 154H cm
Determining significant difference between ultraviolet-based and alcohol based (70% alcohol content, isopropyl) disinfection
Determining significant effect in effectiveness in the amount of ultraviolet to be used (222nm, 254nm UVC), time of ultraviolet exposure.
Determining efficiency of the automatic disinfection box implemented with Arduino in terms of production cost and conveniency.
POLYTECHNIC UNIVERSITY OF THE PHILIPPINES
4609

## Slide 7
Scope and Limitations
Determining the significant difference of uv-based disinfection and specific brands of alcohol.
POLYTECHNIC UNIVERSITY OF THE PHILIPPINES
4609

## Slide 8
Research Design
Quantitative experimental research design: for SOP 1-3a
Qualitative research design: for SOP 3b
Method of analysis
T-test
One sample t-test
ANOVA
Likert scale
Tools and methods
POLYTECHNIC UNIVERSITY OF THE PHILIPPINES
4609

## Slide 9
Diagrams
POLYTECHNIC UNIVERSITY OF THE PHILIPPINES
4609
Figure 1: Block diagram

## Slide 10
Diagrams
POLYTECHNIC UNIVERSITY OF THE PHILIPPINES
4609
Figure 2: Prototype Design

## Slide 11
List of Materials
Arduino
UVC
Resistor
PIR sensor
LED display
GSM module
Motor
Wire
Power supply
PCB
POLYTECHNIC UNIVERSITY OF THE PHILIPPINES
4609

## Slide 12
Circuit Simulation
POLYTECHNIC UNIVERSITY OF THE PHILIPPINES
4609